CO2 Cleaning

(Humidity should be low enough)

0) Zero Search 

  Open mirror cover

  Open dome shutter
(See "Start Observation(1) & (2)")
In the menu of the software client 

1) Bring Telescope to Alt of 20deg

  1: Move   then displays

             +000:00:00.0 v=0.0

             +089:00:00.0 v=0.0

             -001:00:00.0 v=0.0

  3: altitude_r

  22222223

    (type seven 2s plus one 3;  89-70+1=20)

  0:end

  0:No! I don't change

2) Place "IRSF mirror plug(Egon's Pinocchio)"

  into the Cassegrain Hole

3) Open Valves and Clean Mirror

4) Move telescope to the rest position 

   q: Move for finish 




D:\share\IRSFco2.doc   2002.3.2.TN

















